## Login Test Case
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
Login_01 | Login | Verify that the 'User Name' input field is present. | Pawan | 2025-03-11 | User must have valid login credentials (username and password). | None | Enter valid username and password, click Login | Username: Icomm Password: Icomm@123 | The layout should be aligned, text readable, and elements properly spaced. | NA | Pass | Test executed successfully without any issues.
Login_02 | Login | Verify that the 'User Password' input field is present. | Pawan | 2025-03-11 | User must have valid login credentials (username and password). | None | Enter incorrect username or password, click Login | Login successful, dashboard opens | The heading should be clearly visible. | NA | Pass | Test executed successfully without any issues.
Login_03 | Login | Verify that the password field masks the entered characters. | Pawan | 2025-03-11 | Login page must be accessible from the application. | None | Leave username or password empty, click Login | Error message: Invalid username or password | Both sections should be properly displayed. | NA | Pass | Test executed successfully without any issues.
Login_04 | Login | Verify that both fields accept input. | Pawan | 2025-03-11 | User must not have exceeded the maximum login attempts. | None | None | Error message: Invalid username or password | Clicking on 'Exit' should close the application. | NA | Pass | Test executed successfully without any issues.
Login_05 | Login | Verify that an error message is displayed when either field is empty. | Pawan | 2025-03-11 | User must enter the credentials. | None | None | Error message: Username cannot be empty | The logo should be visible and properly aligned. | NA | Pass | Test executed successfully without any issues.
Login_06 | Login | Verify that the 'User Name' field does not accept special characters. | Pawan | 2025-03-11 | User can enter any character type name.. | None | Click Login without entering any data | Error message: Password cannot be empty | The input field should be available for user entry. | NA | Pass | Test executed successfully without any issues.
Login_07 | Login | Verify that the 'Login' button is displayed and enabled. | Pawan | 2025-03-11 | User Must click the Login button. | None | Enter special characters in the username field, enter a valid password, click Login | None | The password input field should be available for user entry. | NA | Pass | Test executed successfully without any issues.
Login_08 | Login | Verify that clicking 'Login' with empty credentials shows an error message. | Pawan | 2025-03-11 | None | None | Enter in the username field and any password, click Login | None | Password should be displayed as asterisks or dots. | NA | Pass | Test executed successfully without any issues.
Login_09 | Login | Verify that clicking 'Login' with an incorrect username/password shows an error message. | Pawan | 2025-03-11 | None | None | Enter in the username field and any password, click Login | None | Users should be able to type in both fields. | NA | Pass | Test executed successfully without any issues.
Login_10 | Login | Verify that clicking 'Login' with correct credentials redirects to the dashboard. | Pawan | 2025-03-11 | None | None | Enter password and check if it's displayed as dots or asterisks | None | The system should show an appropriate error message. | NA | Pass | Test executed successfully without any issues.
Login_11 | Login | Verify the response time after clicking 'Login.' | Pawan | 2025-03-11 | None | None | Login and stay idle for a long time | None | The system should restrict invalid characters. | NA | Pass | Test executed successfully without any issues.
Login_12 | Login | Verify that the 'Forgot Password' link is present and clickable. | Pawan | 2025-03-11 | None | None | Click on 'Forgot Password' | None | The button should be visible and enabled when fields are filled. | NA | Pass | Test executed successfully without any issues.
Login_13 | Login | Verify that clicking 'Forgot Password' redirects to the password recovery page. | Pawan | 2025-03-11 | None | None | Enter the correct password but with different case variations, click Login | None | The system should prompt the user to enter credentials. | NA | Pass | Test executed successfully without any issues.
Login_14 | Login | Verify that the 'Select Device' link is present. | Pawan | 2025-03-11 | None | None | Enter incorrect credentials multiple times | None | A 'Invalid credentials' message should be displayed. | NA | Pass | Test executed successfully without any issues.
Login_15 | Login | Verify that clicking 'Select Device' opens the device selection window. | Pawan | 2025-03-11 | None | None | Resize the browser or open on different devices | None | The user should be logged in and redirected. | NA | Pass | Test executed successfully without any issues.
Login_16 | Login | Verify that SQL injection is not possible in the username/password fields. | Pawan | 2025-03-11 | None | None | Attempt login when the system is under maintenance | None | The system should navigate to the password reset screen. | NA | Pass | Test executed successfully without any issues.
Login_17 | Login | Verify that clicking the 'Exit' button closes the application securely. | Pawan | 2025-03-11 | None | None | Log in with valid credentials | None | The link should be visible and accessible. | NA | Pass | Test executed successfully without any issues.
Login_18 | Login | Verify that clicking 'Select Device' opens the device selection window. | Pawan | 2025-03-11 | None | None | Click on 'Select Device' | None | A device selection dialog should appear. | NA | Pass | Test executed successfully without any issues.
Login_19 | Login | Verify that logging in without selecting a device shows a warning message. | Pawan | 2025-03-11 | None | None | NA | None | The system should prompt the user to select a device. | NA | Pass | Test executed successfully without any issues.
Login_20 | Login | Verify that clicking the 'Exit' button closes the application securely. | Pawan | 2025-03-11 | None | None | NA | None | The application should close without errors. | NA | Pass | Test executed successfully without any issues.

## DG
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
DG_001 | DieselGenerator | Verify 'Mains Parameters' values are displayed correctly | Pawan | 2025-03-13 | NA | Data get from Manager Application. | Navigate to the application and check the values under 'Mains Parameters' | User can see the Live data is here | Values should match expected generator readings | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_002 | DieselGenerator | Verify 'Engine Group' values are displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'Engine Group' | User can see the Live data is here | Values should match expected engine readings | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_003 | DieselGenerator | Verify 'Generator Group' values are displayed correctly | Pawan | 2025-03-15 | NA | Data get from Manager Application. | Check values under 'Generator Group' | User can see the Live data is here | Values should match expected generator readings | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_004 | DieselGenerator | Check if 'Event Time' is displayed for all parameters | Pawan | 2025-03-16 | NA | Data get from Manager Application. | Ensure all rows have an event time | User can see the Live data is here | Each row should have a valid timestamp | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_005 | DieselGenerator | Verify the 'Status' indicators are correctly displayed | Pawan | 2025-03-17 | NA | Data get from Manager Application. | Check the status indicators next to each parameter | User can see the Live data is here | Indicators should accurately reflect system state | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_006 | DieselGenerator | Validate TRAP alert is triggered correctly | Pawan | 2025-03-18 | NA | Data get from Manager Application. | Check if 'TRAP (S) Received' appears when a trap is received | User can see the Live data is here | Alert should appear when a TRAP event occurs | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_007 | DieselGenerator | Validate Critical Trap alert is triggered correctly | Pawan | 2025-03-19 | NA | Data get from Manager Application. | Check if 'Critical Trap (S) Received' appears when a critical trap is received | User can see the Live data is here | Alert should appear when a critical event occurs | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_008 | DieselGenerator | Ensure UI layout is correctly aligned | Pawan | 2025-03-20 | NA | Data get from Manager Application. | Verify tables and sections are properly formatted | User can see the Live data is here | UI should be properly aligned without overlapping | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_009 | DieselGenerator | Check if application updates values in real-time | Pawan | 2025-03-21 | NA | Data get from Manager Application. | Monitor the values and ensure they update as expected | User can see the Live data is here | Values should refresh periodically | Generator data can view successfully | Pass | Test executed successfully without any issues
DG_010 | DieselGenerator | Verify voltage and current values are within expected ranges | Pawan | 2025-03-22 | NA | Data get from Manager Application. | Compare displayed values with acceptable ranges | User can see the Live data is here | Values should be within expected operational limits | Generator data can view successfully | Pass | Test executed successfully without any issues

## UPS
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
UPS_001 | UPS | Verify 'UPS Identity Parameters' are displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'UPS Identity Parameters' | User can see the Live data is here | Values should match expected UPS details | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_002 | UPS | Verify 'UPS Input Parameters' are displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'UPS Input Parameters' | User can see the Live data is here | Values should match expected UPS readings | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_003 | UPS | Verify 'UPS Output Parameters' are displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'UPS Output Parameters' | User can see the Live data is here | Values should match expected UPS readings | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_004 | UPS | Verify 'UPS Bypass Parameters' are displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'UPS Bypass Parameters' | User can see the Live data is here | Values should match expected UPS readings | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_005 | UPS | Check if 'Event Time' is displayed for all parameters | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Ensure all rows have an event time | User can see the Live data is here | Each row should have a valid timestamp | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_006 | UPS | Verify the 'Status' indicators are correctly displayed | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check the status indicators next to each parameter | User can see the Live data is here | Indicators should accurately reflect system state | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_007 | UPS | Validate TRAP alert is triggered correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check if 'TRAP (S) Received' appears when a trap is received | User can see the Live data is here | Alert should appear when a TRAP event occurs | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_008 | UPS | Validate Critical Trap alert is triggered correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check if 'Critical Trap (S) Received' appears when a critical trap is received | User can see the Live data is here | Alert should appear when a critical event occurs | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_009 | UPS | Ensure UI layout is correctly aligned | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Verify tables and sections are properly formatted | User can see the Live data is here | UI should be properly aligned without overlapping | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_010 | UPS | Check if application updates values in real-time | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Monitor the values and ensure they update as expected | User can see the Live data is here | Values should refresh periodically | UPS data can view successfully | Pass | Test executed successfully without any issues
UPS_011 | UPS | Verify voltage and current values are within expected ranges | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Compare displayed values with acceptable ranges | User can see the Live data is here | Values should be within expected operational limits | UPS data can view successfully | Pass | Test executed successfully without any issues

## Router
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
Router_001 | Router | Verify 'Router Parameters' are displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'Router Parameters' | User can see the Live data is here | Values should match expected router details | Router data can view successfully | Pass | Test executed successfully without any issues
Router_002 | Router | Verify 'Admin Parameters' are displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'Admin Parameters' | User can see the Live data is here | Values should match expected router settings | Router data can view successfully | Pass | Test executed successfully without any issues
Router_003 | Router | Verify 'Router Interface Status' is displayed correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check values under 'Router Interface Status' | User can see the Live data is here | Values should match expected operational states | Router data can view successfully | Pass | Test executed successfully without any issues
Router_004 | Router | Check if 'Event Time' is displayed for all parameters | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Ensure all rows have an event time | User can see the Live data is here | Each row should have a valid timestamp | Router data can view successfully | Pass | Test executed successfully without any issues
Router_005 | Router | Verify the 'Status' indicators are correctly displayed | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check the status indicators next to each parameter | User can see the Live data is here | Indicators should accurately reflect system state | Router data can view successfully | Pass | Test executed successfully without any issues
Router_006 | Router | Validate Critical Trap alert is triggered correctly | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Check if 'Critical Trap (S) Received' appears when a critical trap is received | User can see the Live data is here | Alert should appear when a critical event occurs | Router data can view successfully | Pass | Test executed successfully without any issues
Router_007 | Router | Ensure UI layout is correctly aligned | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Verify tables and sections are properly formatted | User can see the Live data is here | UI should be properly aligned without overlapping | Router data can view successfully | Pass | Test executed successfully without any issues
Router_008 | Router | Check if application updates values in real-time | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Monitor the values and ensure they update as expected | User can see the Live data is here | Values should refresh periodically | Router data can view successfully | Pass | Test executed successfully without any issues
Router_009 | Router | Verify interface statuses reflect actual connectivity | Pawan | 2025-03-14 | NA | Data get from Manager Application. | Compare displayed interface statuses with expected states | User can see the Live data is here | Statuses should match actual network interface states | Router data can view successfully | Pass | Test executed successfully without any issues

## Switch
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
Switch_001 | Switch | Verify that all switch parameters are displayed correctly | Pawan | 2025-03-15 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All switch ports should be listed with status | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_002 | Switch | Verify that Admin Parameters are loaded correctly | Pawan | 2025-03-16 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All Admin Status entries should be displayed | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_003 | Switch | Verify that Operation Parameters are displayed | Pawan | 2025-03-17 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All Operation Status entries should be listed | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_004 | Switch | Verify that Cisco Environment Temperature parameters are displayed | Pawan | 2025-03-18 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All temperature-related parameters should be listed | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_005 | Switch | Check if status indicators are updating dynamically | Pawan | 2025-03-19 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | Status indicators should change based on real-time data | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_006 | Switch | Check if tooltips/icons for Admin/Operation parameters work | Pawan | 2025-03-20 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | Icons should provide expected tooltips or actions | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_007 | Switch | Verify UI responsiveness | Pawan | 2025-03-21 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | UI elements should adjust correctly on resizing | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_008 | Switch | Ensure event timestamps appear correctly | Pawan | 2025-03-22 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All Event Time fields should show valid timestamps | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_009 | Switch | Check if scrollbar appears when needed | Pawan | 2025-03-23 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | Scrollbar should appear if data exceeds visible area | Switch data can view successfully | Pass | Test executed successfully without any issues
Switch_010 | Switch | Verify error handling for missing data | Pawan | 2025-03-24 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | UI should handle missing or incorrect data gracefully | Switch data can view successfully | Pass | Test executed successfully without any issues

## Radio
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
Radio_001 | Radio | Verify that Terminal Mode options (Base, Remote, Repeater) are displayed | Pawan | 2025-03-15 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All three options should be visible | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_002 | Radio | Verify that IP Address fields (ManagerIpAddress, NetMaskIpAddress) are displayed | Pawan | 2025-03-16 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | Both fields should be visible | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_003 | Radio | Verify that Voltage parameters are displayed | Pawan | 2025-03-17 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All voltage values (+5V, +12V, -5V, +49V) should be visible | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_004 | Radio | Verify that Slot Information section displays all slots | Pawan | 2025-03-18 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All slots (1-6) should be listed | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_005 | Radio | Verify that Slot Active indicators are working | Pawan | 2025-03-19 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | Slot Active status should reflect real-time data | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_006 | Radio | Verify that Link, Channel No, RSSI, SNR, and other parameters are displayed | Pawan | 2025-03-20 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | All parameters should have correct values | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_007 | Radio | Verify that TRAP (S) Receive section is displayed | Pawan | 2025-03-21 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | TRAP (S) Receive should be visible and updated dynamically | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_008 | Radio | Verify that UI elements are aligned properly | Pawan | 2025-03-22 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | UI should not have overlapping or misaligned elements | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_009 | Radio | Check if the status indicators change dynamically | Pawan | 2025-03-23 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | Status indicators should reflect real-time changes | Radio data can view successfully | Pass | Test executed successfully without any issues
Radio_010 | Radio | Verify error handling for missing or incorrect data | Pawan | 2025-03-24 | NA | Data get from Manager Application. | Check all parameters correctly. | User can see the Live data is here | UI should display appropriate error messages | Radio data can view successfully | Pass | Test executed successfully without any issues

## Configuration Test Case
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
Config_001 | Configuration | Verify UI layout and elements | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@123 | The corresponding parameter list should load correctly for each subsystem | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_002 | Configuration | Verify subsystem selection | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@124 | The fields should become editable | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_003 | Configuration | Verify Edit button functionality | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@125 | The latest data should be loaded from the backend | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_004 | Configuration | Verify Refresh button functionality | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@126 | All columns should be correctly populated with data | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_005 | Configuration | Verify column data population | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@127 | The updated values should be stored correctly | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_006 | Configuration | Verify Min and Max values update | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@128 | The UI should highlight values based on the configured range | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_007 | Configuration | Verify range color classification | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@129 | The user should be logged out and redirected to the login screen | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_008 | Configuration | Verify logout functionality | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@130 | A help dialog or document should open | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_009 | Configuration | Verify Help button functionality | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@131 | The table should scroll smoothly without UI glitches | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_010 | Configuration | Verify scrollbar functionality | Pawan | 2025-03-11 | NA | Configuration data takes from configuration text file | User wants to click login | Username: Icomm Password: Icomm@132 | The table should scroll smoothly without UI glitches | Configuration View Successfully. | Pass | Test executed successfully without any issues
Config_011 | Configuration | Verify Normal User Login | Pawan | 2025-03-12 | NA | NA | User wants to click login | Username: Icomm Password: Icomm@133 | If User is a Normal user he don't have access to edit the data. | NA | Pass | Test executed successfully without any issues

## Dashboard Testcase
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
UI_01 | DashBoard | Verify that the dashboard layout is displayed correctly. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@123 | All UI elements should be properly aligned and visible. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_02 | DashBoard | Verify that the 'Welcome' message displays the logged-in user's name. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@124 | The logged-in user’s name should be shown correctly. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_03 | DashBoard | Verify that the current date and time are displayed correctly. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@125 | Date and time should be accurate and update dynamically. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_04 | DashBoard | Verify that the 'Logout' button is visible and functional. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@126 | Clicking 'Logout' should log the user out and return to the login screen. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_05 | DashBoard | Verify that the 'Sub Systems Info' tab is displayed and accessible. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@127 | The tab should be clickable and open the respective panel. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_06 | DashBoard | Verify that the 'Mains Parameters' table displays correct values. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@128 | The values should match the backend data source. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_07 | DashBoard | Verify that the 'UPS Parameters' table displays correct values. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@129 | The values should be retrieved and displayed accurately. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_08 | DashBoard | Verify that the 'Event Time' column displays correct timestamps. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@130 | Timestamps should be formatted correctly and accurate. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_09 | DashBoard | Verify that the status indicators are displayed correctly for each parameter. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@131 | Status should match the corresponding system state. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_10 | DashBoard | Verify that the 'TRAP (S) Received' section updates when a new trap is received. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@132 | The trap count should increase dynamically. | Dashboard View succesfully | Pass | Test executed successfully without any issues
UI_11 | DashBoard | Verify that clicking the navigation arrows moves between subsystems. | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@133 | The subsystem panels should change accordingly. | Dashboard View succesfully | Pass | Test executed successfully without any issues

## TableReports Testcase
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
TR_001 | TableReports | Launch the application and check the default 'From Date' and 'To Date' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@123 | Dates should be pre-filled with the current date | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_002 | TableReports | Select a different 'From Date' and 'To Date' and click 'Filter' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@124 | Report should display data for the selected date range | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_003 | TableReports | Toggle between 'SNMP Trap' and 'SNMP Non Trap' and click 'Filter' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@125 | Report should update according to the selected SNMP type | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_004 | TableReports | Compare the displayed data with the expected system logs | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@126 | Report data should match expected values | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_005 | TableReports | Navigate through report pages using pagination controls | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@127 | User should be able to navigate through pages correctly | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_006 | TableReports | Use the search bar to find a specific parameter | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@128 | The searched parameter should be highlighted or displayed | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_007 | TableReports | Resize the window or use different screen resolutions | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@129 | UI should remain properly aligned and functional | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_008 | TableReports | Click on the 'Close' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@130 | Application should close or return to the previous screen | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_009 | TableReports | Check the format of the event time in the report | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@131 | Time should be in 'DD-MM-YYYY HH:MM' format | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues
TR_010 | TableReports | Click the 'Help' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@132 | Help documentation should be displayed | Table Reports Viewed Successfully. | Pass | Test executed successfully without any issues

## Linegrapg Testcase
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
LG_001 | Linegraph | Launch the application and check default 'From Date' and 'To Date' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@123 | Dates should be pre-filled with the current date | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_002 | Linegraph | Select different 'From Date' and 'To Date', then click 'Load Graph' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@124 | Graph should display data for the selected date range | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_003 | Linegraph | Choose a different parameter from the dropdown and click 'Load Graph' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@125 | Graph should update according to the selected parameter | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_004 | Linegraph | Check the plotted graph values against the expected data | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@126 | Graph should accurately represent the parameter values | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_005 | Linegraph | Resize window or use different screen resolutions | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@127 | Graph should adjust without misalignment or distortion | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_006 | Linegraph | Click 'Load Graph' after selecting parameters and date | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@128 | Graph should update based on the selected inputs | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_007 | Linegraph | Select a date range with no data and click 'Load Graph' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@129 | Graph should display an appropriate message instead of an empty screen | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_008 | Linegraph | Check X-axis and Y-axis labels for correctness | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@130 | Labels should correspond to 'Date Time' and 'Parameter Value' | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_009 | Linegraph | Click the 'Logout' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@131 | User should be logged out and redirected to the login page | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues
LG_010 | Linegraph | Click the 'Help' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@132 | Help documentation should be displayed | Linegraph Viewed Successfully. | Pass | Test executed successfully without any issues

## ManageArchive
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
MA_001 | ManageArchive | Launch the application and check default 'From Date' and 'To Date' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@123 | Dates should be pre-filled with the current date | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_002 | ManageArchive | Select different 'From Date' and 'To Date', then click 'View' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@124 | Records should be displayed for the selected date range | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_003 | ManageArchive | Toggle between 'SNMP Trap' and 'SNMP Non Trap' and click 'View' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@125 | Records should update according to the selected SNMP type | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_004 | ManageArchive | Click 'Next' and 'Previous' buttons | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@126 | User should be able to navigate between pages correctly | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_005 | ManageArchive | Check displayed records against the expected system logs | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@127 | Displayed data should match expected values | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_006 | ManageArchive | Modify a record and click 'Save' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@128 | Changes should be successfully saved | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_007 | ManageArchive | Select a record and click 'Delete' | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@129 | Selected record should be removed from the list | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_008 | ManageArchive | Click 'View' after selecting filter criteria | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@130 | Relevant records should be displayed | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_009 | ManageArchive | Resize window or use different screen resolutions | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@131 | Table and buttons should remain properly aligned | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_010 | ManageArchive | Click the 'Logout' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@132 | User should be logged out and redirected to the login page | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues
MA_011 | ManageArchive | Click the 'Help' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@133 | Help documentation should be displayed | Manage Archive Viewed Successfully | Pass | Test executed successfully without any issues

## ManageUser
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
MU_01 | ManageUser | Click the 'Delete' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@123 | Admin can delete the selected data using this. | Manage User Viewed Successfully | Pass | Test executed successfully without any issues
MU_02 | ManageUser | Click the 'Create User' button | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@124 | Admin can create new user using this button. | Manage User Viewed Successfully | Pass | Test executed successfully without any issues
MU_03 | ManageUser | Click the check box | Pawan | 2025-03-11 | NA | User can login with the right credentials | User wants to click login | Username: Icomm Password: Icomm@125 | Admin can select the the check box perticulr deleted history data. | Manage User Viewed Successfully | Pass | Test executed successfully without any issues

## SubsystemInfo
Test Case ID | Sub-System | Test Description | Tester Name | Execution Date | Preconditions | Dependencies | Test Steps | Test Data | Expected Result | Actual Result | Status (Pass/Fail) | Comments/Notes
SI-001 | Subsysteminfo | Verify that the Sub System Status window loads correctly | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@123 | The window should display without errors | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-002 | Subsysteminfo | Check that all sections and panels are visible | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@124 | All panels should be displayed properly | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-003 | Subsysteminfo | Validate that the Preview Mode toggle button is displayed in each section | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@125 | Preview Mode should be visible in all panels | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-004 | Subsysteminfo | Ensure that the icons and colors for status indicators are correctly displayed | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@126 | Icons should be visible and should represent statuses correctly | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-005 | Subsysteminfo | Test resizing the window and ensure all UI elements adjust properly | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@127 | The UI should be responsive without overlapping or breaking layout | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-006 | Subsysteminfo | Verify that Mains Frequency, Voltage values, Status, and Event Time are correctly displayed | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@128 | The values should be accurate and formatted correctly | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-007 | Subsysteminfo | Ensure that Status indicators (dots) reflect actual system status | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@129 | The status should change dynamically based on real-time values | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-008 | Subsysteminfo | Test whether scrolling works if additional data is present | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@130 | The user should be able to scroll smoothly | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-009 | Subsysteminfo | Verify that Battery Status, Manufacturer, Model, Software Version, and Serial Number are displayed | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@131 | Correct details should be visible | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-010 | Subsysteminfo | Ensure Event Time updates correctly when new data arrives | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@132 | The event time should reflect the latest updates | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-011 | Subsysteminfo | Validate that Battery Status shows correct values (e.g., 'batteryDepleted') | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@133 | The status should be accurate | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-012 | Subsysteminfo | Verify that each port's status (GE/10/1, GE/0/0, etc.) is displayed | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@134 | All ports should be listed with their correct status | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-013 | Subsysteminfo | Check that the router admin status section displays proper event time and link status | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@135 | Information should be correct and up to date | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-014 | Subsysteminfo | Ensure that the status indicators (dots) correctly reflect active/inactive states | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@136 | Green for active, grey for inactive (or per defined color coding) | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-015 | Subsysteminfo | Verify that the Terminal Mode radio buttons work correctly | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@137 | Selecting a mode should update the system accordingly | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-016 | Subsysteminfo | Check that IP Address fields (Manager IP, Netmask IP) accept and display valid data | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@138 | Fields should accept only valid IP formats | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-017 | Subsysteminfo | Verify that Voltage parameter is displayed correctly | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@139 | The value should be accurate | Subsysteminfo data viewd. | Pass | Test executed successfully without any issues
SI-018 | Subsysteminfo | Ensure the voltage indicator updates dynamically when values change | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@140 | The indicator should refresh without lag | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-019 | Subsysteminfo | Verify that Trap ID, System Name, Trap Info, Trap Group Name, and Trap Value are displayed properly | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@141 | Data should be formatted correctly | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-020 | Subsysteminfo | Test sorting functionality for Trap ID and other columns | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@142 | Sorting should work as expected | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-021 | Subsysteminfo | Ensure that scrolling works smoothly when multiple trap logs are displayed | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@143 | The user should be able to scroll without lag | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-022 | Subsysteminfo | Verify that the dashboard updates data in real-time | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@144 | Data should refresh dynamically | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-023 | Subsysteminfo | Test the Preview Mode toggle button to check if it enables/disables editing | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@145 | The mode should switch as expected | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-024 | Subsysteminfo | Check application performance with a large number of data entries | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@146 | The application should not lag or crash | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-025 | Subsysteminfo | Verify behavior when no data is available | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@147 | UI should display 'No Data Available' instead of crashing | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues
SI-026 | Subsysteminfo | Check how the system handles incorrect voltage or status data | Pawan | 2025-03-12 | NA | User can login with the right credentials | User wants to click the subsysteminfo button. | Username: Icomm Password: Icomm@148 | The UI should show an appropriate error message | Subsysteminfo data viewed. | Pass | Test executed successfully without any issues